CONVEYOR & HT

TORQUE SPECIFICATIONS

STARTING 05-03-2011

Lavato contactor                      27 inch pounds

Lavato overloads                      22 inch pounds

Watlow heaters                        20 inch pounds

Mercury relay, wash                 30 inch pounds

Mercury relay, rinse                  30 inch pounds

Square D breaker                     45 inch pounds