ASHRAE Requirements for HVAC

Low Temp Dishmachines

In compliance with 2009 IMC section 507.2.2 (copy attached) Type II hoods, a hood is not required where the heat and moisture loads from the [dish machine] are incorporated into the building’s HVAC, which loads are calculated to be 4770 total Btu/h, “unhooded” for a door-type, chemical sanitizing dishwasher by ASHRAE Nonresidential Cooling and Heating Load Calculations 18.11, Table 5Eikyyyxjiijxmnxuukyldxx