Grainger Motor in a pinch!

56J Frame

1 ½   HP   Part # 6K516C

Only Slot in Back. When replacing after use may have trouble removing Impeller

Pump Seal   Part # 5NC07